Instrument:

This data was collected using a Nicolet iS50 FT-IR (Thermo Scientific). (see lab manual for scan settings)

8 cm resolution spectra

Peak Frequencies: *may be slightly different because the images above are from a different data set than the peaks below.

Tue Feb 04 14:50:04 2025 (GMT-05:00)

FIND PEAKS:

Spectrum:	HCl

Region:	3244.03   	2479.63

Absolute threshold:	-0.0035

Sensitivity:	50

Peak list:

Position: 	2625.20 	Intensity:  	-0.0026

Position: 	2651.34 	Intensity:  	-0.0012

Position: 	2677.25 	Intensity:   	0.00078

Position: 	2702.45 	Intensity:   	0.0040

Position: 	2727.06 	Intensity:   	0.0080

Position: 	2751.32 	Intensity:   	0.0131

Position: 	2775.07 	Intensity:   	0.0181

Position: 	2798.27 	Intensity:   	0.0225

Position: 	2820.92 	Intensity:   	0.0240

Position: 	2842.98 	Intensity:   	0.0223

Position: 	2864.35 	Intensity:   	0.0161

Position: 	2905.59 	Intensity:   	0.0172

Position: 	2925.14 	Intensity:   	0.0250

Position: 	2944.19 	Intensity:   	0.0279

Position: 	2962.54 	Intensity:   	0.0277

Position: 	2980.21 	Intensity:   	0.0233

Position: 	2997.26 	Intensity:   	0.0181

Position: 	3013.66 	Intensity:   	0.0133

Position: 	3029.35 	Intensity:   	0.0092

Position: 	3044.45 	Intensity:   	0.0058

Position: 	3058.74 	Intensity:   	0.0038

Position: 	3071.83 	Intensity:   	0.0024